ONLINE_V2 development status
& future work
                  Raju Uprade
                  Date : 11/03/2014

---
Introduction
- Work started related to Online_V2 in Octomber 2012.
- Demonstrated the status of TELESET-ABCCOM to team members.
- Studied various control & monitoring software-tools used in other astronomy institute like SCADA, PVSS, moniCA.
- Installed PVSS software on Laptop & explored various functionalities of it.
- In meeting it was agreed we will develop our own Online_V2 with open source technologies.
- Development work for Online_V2 started from Jan-2013.
- Initially we developed a stand alone readline server which can send commands to Rabbit MCM card using our own defined structure protocol.
- We used the experience gained from working on Teleset-Abccom, 15 M NCRA disc & present Online.

---
Online_v2 development & Status
- First level prototype Online_V2 has been developed.
- Various commands related to various sub-system has been implemented like create,cmd2sub etc.
- Eight MCM cards have been put in Lab set up for Online_V2. Online_V2 has been tested successfully by configuring eight MCM cards as two antenna four sub-system each & eight antenna one sub-system each. (Front End, Fiber optics, GAB, Sentinel)
- All basic servo commands have been implemented in Online_v2 which has been tested with actual hardware set up in servo lab. As well as one antenna tracking routine has been implemented in Online_V2, which has been tested with a prototype servo client program.
- DAS communication channel has been implemented in Online_V2. DAS commands have been tested upto DAS SERVER level.
- Online_V2 has been interfaced with QT/QML based GUI. Online_v2 can take commands from terminal as well as GUI.

---
Online_v2 Testing
Antenna Testing
Four MCM cards have been installed at C03,C06,S04 & S02. They are communicating very well with Online_v2, sending monitoring response every 1 second time interval.
C03 rabbit MCM card is connected with a temperature sensor which is sending Antenna shell temperature every 1 second.
Lab Testing
New cisco L3 network switch has been configured for Lab setup. Eight MCM card with different subnet have been connected to the switch.Online_V2 is communicating with every MCM within 1 second reponse time.
We have done several test to measure the round trip time taken by command & response packet.

---
Online_v2 pending development
- Online_V2 will be interfaced with Python Environment. Work has been started. Learning about JSON library.
- Using a common astronomy library for astronomical calculations. Working on NOVAS library.
- Tracking routine for all 30 Antenna to be implemented.
- DAS binary file generation ( proj.hdr & scan.hdr). Sample program to write binary file is ready.
- Performance testing & optimization.

---
Online_v2 future testing
We will try to put a Network switch in any one of the Ethernet enabled antenna and connect two-three MCM cards there. This testing will not disturb normal GTAC observation, our testing can go in parallel with that.
We will take GSB/GPU correlator for testing with Online_V2.
Thank You !!